## 2025
BOARD OF PUBLIC WORKS
P O BOX 279
BEATRICE NE 68310
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Date Received: | 2020-01-09 | 2021-01-05 | 2022-01-04 | 2023-01-05 | 2024-01-11 | 2025-01-10
Report Date: | 2020-01-18 | 2021-01-14 | 2022-01-10 | 2023-01-13 | 2024-01-23 | 2025-01-20
Lab Number: | 8712852 | 8848130 | 70048556 | 70226999 | 70401681 | 70576750
| Reservoir | Reservoir | Reservoir | Reservoir | Reservoir | Reservoir
Conductivity | 0.684 mmhos/cm | 0.684 mmhos/cm | 0.841 mmhos/cm | 0.927 mmhos/cm | 0.708 mmhos/cm | 0.654 mmhos/cm
Total Hardness | 203.49 mg/L | 208.62 mg/L | 208.62 mg/L | 237.69 mg/L | 201.78 mg/L | 184.68 mg/L
Grain/U.S. Gallon | 11.9 gr/gal | 12.2 gr/gal | 12.2 gr/gal | 13.9 gr/gal | 11.8 gr/gal | 10.8 gr/gal
Calcium | 61.8 ppm | 63.1 ppm | 64.2 ppm | 72.5 ppm | 61.2 ppm | 56.3 ppm
Magnesium | 12.1 ppm | 12.5 ppm | 11.8 ppm | 13.7 ppm | 11.7 ppm | 10.6 ppm
Sodium | 61.7 ppm | 59.8 ppm | 68.2 ppm | 78.5 ppm | 59.4 ppm | 54.5 ppm
Sodium absorption ration | 1.874 | 1.795 | 2.048 | 2.211 | 1.818 | 1.742
Potassium | Not tested | Not tested | Not tested | Not tested | Not tested | Not tested
Iron | N.D. | N.D. | N.D. | N.D. | N.D. | N.D.
Manganese | N.D. | N.D. | N.D. | N.D. | N.D. | N.D.
Carbonate | N.D mg/L | .700 mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L
Bicarbonate | 181 mg/L | 193 mg/L | 221 mg/L | 227 mg/L | 186 mg/L | 189 mg/L
Chloride | 109.0 ppm | 60.0 ppm | 93.0 ppm | 98.0 ppm | 57.6 ppm | 57.4 ppm
Sulfate | 44.0 ppm | 44.0 ppm | 43.0 ppm | 42.0 ppm | 42.6 ppm | 49.4 ppm
Fluoride | .2 ppm | .2 ppm | .2 ppm | .2 ppm | .2 ppm | .2 ppm
Nitrate Nitrogen | 5.8 ppm | 6.9 ppm | 5.0 ppm | 4.6 ppm | 5.3 ppm | 3.0 ppm
pH | 7 | 7.57 | 7.06 | 6.95 | 6.67 | 7.04
Total Dissolved Solids | 445 mg/L | 445 mg/L | 547 mg/L | 602 mg/L | 460 mg/L | 425 mg/L
Total Suspended Solids | N.D. | 4 mg/L | 10 mg/L | N.D. | 6 mg/L | 8 mg/L
Total Alkalinity | 182.0 mgCaCo3/L | 182.0 mgCaCo3/L | 221 mgCaCo3/L | 227 mgCaCo3/L | 186 mgCaCo3/L | 189 mgCaCo3/L
Phosphorus | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
Zinc | N.D mg/L | N.D mg/L | N.D mg/L | N.D mg/L | N.D mg/L | N.D mg/L
Boron | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L | .06 mg/L | .05 mg/L
Chromium | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L
Lead | N.D. | N.D. | N.D. | N.D. | N.D. | N.D.
Copper | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
Nitrite Nitrogen | N.D. | N.D. | N.D. | N.D. | N.D. | N.D.
Note:
mg/L = parts per million
ug/L = parts per billion
< = less than
RL = Reporting Limit
N.D. = Not Detected

## 2026
BOARD OF PUBLIC WORKS
P O BOX 279
BEATRICE NE 68310
| 2022 | 2023 | 2024 | 2025 | 2026
Date Received: | 2022-01-04 | 2023-01-05 | 2024-01-11 | 2025-01-10 | 2026-01-06
Report Date: | 2022-01-10 | 2023-01-13 | 2024-01-23 | 2025-01-20 | 2026-01-14
Lab Number: | 70048556 | 70226999 | 70401681 | 70576750 | 70739881
| Reservoir | Reservoir | Reservoir | Reservoir | Reservoir
Conductivity | 0.841 mmhos/cm | 0.927 mmhos/cm | 0.708 mmhos/cm | 0.654 mmhos/cm | 0.706 mmhos/cm
Total Hardness | 208.62 mg/L | 237.69 mg/L | 201.78 mg/L | 184.68 mg/L | 194.94 mg/L
Grain/U.S. Gallon | 12.2 gr/gal | 13.9 gr/gal | 11.8 gr/gal | 10.8 gr/gal | 11.4gr/gal
Calcium | 64.2 ppm | 72.5 ppm | 61.2 ppm | 56.3 ppm | 59.1 ppm
Magnesium | 11.8 ppm | 13.7 ppm | 11.7 ppm | 10.6 ppm | 11.4 ppm
Sodium | 68.2 ppm | 78.5 ppm | 59.4 ppm | 54.5 ppm | 67.3 ppm
Sodium absorption ration | 2.048 | 2.211 | 1.818 | 1.742 | 2.094
Potassium | Not tested | Not tested | Not tested | Not tested | Not tested
Iron | N.D. | N.D. | N.D. | N.D. | N.D.
Manganese | N.D. | N.D. | N.D. | N.D. | N.D.
Carbonate | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D mg/L
Bicarbonate | 221 mg/L | 227 mg/L | 186 mg/L | 189 mg/L | 213 mg/L
Chloride | 93.0 ppm | 98.0 ppm | 57.6 ppm | 57.4 ppm | 66.3 ppm
Sulfate | 43.0 ppm | 42.0 ppm | 42.6 ppm | 49.4 ppm | 42.6 ppm
Fluoride | .2 ppm | .2 ppm | .2 ppm | .2 ppm | .2 ppm
Nitrate Nitrogen | 5.0 ppm | 4.6 ppm | 5.3 ppm | 3.0 ppm | 4.4 ppm
pH | 7.06 | 6.95 | 6.67 | 7.04 | 7.14
Total Dissolved Solids | 547 mg/L | 602 mg/L | 460 mg/L | 425 mg/L | 459 mg/L
Total Suspended Solids | 10 mg/L | N.D. | 6 mg/L | 8 mg/L | 4 mg/L
Total Alkalinity | 221 mgCaCo3/L | 227 mgCaCo3/L | 186 mgCaCo3/L | 189 mgCaCo3/L | 213 mgCaCo3/L
Phosphorus | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
Zinc | N.D mg/L | N.D mg/L | N.D mg/L | N.D mg/L | N.D mg/L
Boron | N.D. mg/L | N.D. mg/L | .06 mg/L | .05 mg/L | N.D. mg/L
Chromium | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L | N.D. mg/L
Lead | N.D. | N.D. | N.D. | N.D. | N.D.
Copper | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
Nitrite Nitrogen | N.D. | N.D. | N.D. | N.D. | N.D.
Note:
mg/L = parts per million
ug/L = parts per billion
< = less than
RL = Reporting Limit
N.D. = Not Detected